## Calculation Energy
Energy Projects
Building | Floor | Room | Existing Fixture | Existing # of Lamps | Existing Lamp/Ballast Type | Exist. Fixture Qty | Existing Fixt. Watt | Existing kW | Existing kWh
Wellness | 2 | Main Gym | High Bay | 1 | MH 1-400W | 60 | 453 | 27.18 | 168189.84
ECM | ECM # Lamps | ECM Lamp Type | ECM Ballast Type | ECM Qty | ECM Watts | ECM kW | ECM kWh | kW Savings (annual) | kWh Savings (annual) | Annual Hrs | ECM Capital ($) | $$ Savings (annual) | Simple Payback Period (Yr) | Estimated Tons of CO2e. (EPA Calculator)
LED Retrofit Lamp for High Bay | 60 | LED | N/A | 60 | 160 | 9.6 | 59404.8 | 175.8 | 8920.3733 | 6188 | 30800 | 9096.1733 | 3.386
Note on O6: Lhoutellier, Teddy: Use this EPA calculator to get your CO2 equivalence tonnage amount: https://www.epa.gov/energy/greenhouse-gas-equivalencies-calculator
Note on I7: Varona, Jose M: Blanded rate of $10/kW used
Note on J7: Varona, Jose M: Blended rate of $0.082/kWh used
Note on L7: Varona, Jose M: $425 / fixture $80/fixture (install) $500 lift rental

## Calculation Water
Water Projects
TBA
Note on O6: Lhoutellier, Teddy: Use this EPA calculator to get your CO2 equivalence tonnage amount: https://www.epa.gov/energy/greenhouse-gas-equivalencies-calculator
Note on I7: Varona, Jose M: Blanded rate of $10/kW used
Note on J7: Varona, Jose M: Blended rate of $0.082/kWh used
Note on L7: Varona, Jose M: $425 / fixture $80/fixture (install) $500 lift rental

## Rate Data
Rate Schedule |  | GSLDT1
Demand
Period | Max kW Usage | Rate $/kW | Adjustments $/kW | Total $/kW
Off-Peak |  | 0 | 2.46 | 2.46
On-Peak |  | 9.11 | 2.46 | 11.57
Energy
Period | Max kWh Usage | Rate $/kWh | Adjustments $/kWh | Total $/kWh
Off-Peak |  | 0.03421 | 0.00294 | 0.03715
On-Peak |  | 0.06336 | 0.00294 | 0.0663
Fixed Charges
Monthly Charge |  |  |  | 59.51
Facility Rental |  |  |  | 3.61